## tipss
type | raw tips | reference
cooling | "Always set your thermostat as low as feels comfortable" | IEA Saving Energy Tips
cooling | "Lower your thermostat by just 1°C" | IEA Saving Energy Tips
cooling | "Try to only heat the room you’re in or the rooms you use regularly." | IEA Saving Energy Tips
cooling | "Clean or replace filters on air conditioners once a month or as recommended." | Energy.gov Energy Saver Guide
cooling | "Turn off ceiling fans when you leave a room." | Energy.gov Energy Saver Guide
cooling | "wear warm clothes indoors" | Energy.gov Energy Saver Guide
cooling | "Set the fan switch on your thermostat to 'Auto' unless an indoor air quality professional has set up your system to operate continuously for health reasons." | Energy.gov Energy Saver Guide
cooling | "During summer, keep the window coverings closed during the day to block the sun's heat." | Energy.gov Energy Saver Guide
cooling | "Make certain the air conditioner you are considering is sized correctly for your home or space that needs to be cooled; an oversized air conditioner performs less efficiently and effectively than a smaller, properly sized unit." | Energy.gov Energy Saver Guide
lighting | "Replace old lightbulbs with new LED ones, and only keep on the lights you need." | IEA Saving Energy Tips
lighting | Check the energy label when buying bulbs, and aim for A (the most efficient) rather than G (the least efficient). | IEA Saving Energy Tips
lighting | "The simplest and easiest way to save energy is to turn lights off when you leave a room." | IEA Saving Energy Tips
lighting | "Efficient lightbulbs are most effective and last their maximum lifetimes when they are installed in energy efficient light fixtures." | Energy.gov Energy Saver Guide
lighting | "Controls such as timers and photocells save electricity by turning lights off when not in use." | Energy.gov Energy Saver Guide
lighting | "Dimmers save electricity when used to lower light levels." | Energy.gov Energy Saver Guide
lighting | "Keep your curtains or shades open to use daylighting instead of turning on lights." | Energy.gov Energy Saver Guide
lighting | "Choose small, energy efficient task lights for computer work, reading, or other focused work on desks and tables." | Energy.gov Energy Saver Guide
lighting | "Look for LED products and fixtures for outdoor use such as pathway lights, step lights, and porches. Many have features like automatic daylight shut-off and motion sensors." | Energy.gov Energy Saver Guide
lighting | "Choose ENERGY STAR decorative light strings for your holiday decorating. They use 75% less energy than incandescent strands..." | Energy.gov Energy Saver Guide
electronics | "Turn off computers and other equipment when they aren't in use." | Energy.gov Energy Saver Guide
electronics | "Use power management settings on computers and monitors, which will send your equipment into low-power 'sleep modes' after periods of inactivity." | Energy.gov Energy Saver Guide
electronics | "Use advanced power strips that can prevent electronics from drawing power when they aren't being used." | Energy.gov Energy Saver Guide
electronics | "Unplug battery chargers when the batteries are fully charged or the chargers are not in use." | Energy.gov Energy Saver Guide
electronics | "Unplugging electronics when they're not in use is a simple yet powerful strategy for conserving energy and reducing electricity bills." | Efficient Energy Management Practical Tips for Household Electricity Conservation
behavior | "The simplest and easiest way to save energy is to turn lights off when you leave a room." | IEA Saving Energy Tips
behavior | "Always set your thermostat as low as feels comfortable, and wear warm clothes indoors." | IEA Saving Energy Tips
behavior | "Try to only heat the room you’re in or the rooms you use regularly." | IEA Saving Energy Tips
behavior | "Walking or cycling are great alternatives to driving for short journeys..." | IEA Saving Energy Tips
behavior | "Swap a bath for a shower to spend less energy heating water." | IEA Saving Energy Tips
insulation | "Hot water tanks and pipes should be insulated to stop heat escaping." | IEA Saving Energy Tips
insulation | "Close fireplace and chimney openings (unless a fire is burning) to stop warm air escaping straight up the chimney." | IEA Saving Energy Tips
insulation | "Install tight-fitting curtains or shades on windows to retain even more heat." | IEA Saving Energy Tips
insulation | "Apply low-e film on the inside of your windows to keep heat from radiating out." | Energy.gov Energy Saver Guide
refrigeration | "Set the temperature at 35°-38°F for refrigerators and O°F for stand-alone freezers for long-term storage." | Energy.gov Energy Saver Guide
refrigeration | "Make sure your refrigerator door seals are airtight. Test them by closing the door over a piece of paper..." | Energy.gov Energy Saver Guide
refrigeration | "Cover liquids and wrap foods stored in the refrigerator. Uncovered foods release moisture and make the compressor work harder." | Energy.gov Energy Saver Guide
refrigeration | "Place the refrigerator away from the oven or dishwasher and out of direct sunlight." | Energy.gov Energy Saver Guide
refrigeration | "Leave a few inches between the wall and the refrigerator, and keep the condenser coils clean on older models." | Energy.gov Energy Saver Guide
water heating | "Lower the hot water temperature to save 8% of your heating energy..." | IEA Saving Energy Tips
water heating | "Set your water heater temperature to 120°F, a temperature considered safe for most of the population." | Energy.gov Energy Saver Guide
water heating | "Install heat traps on the hot and cold pipes at the water heater to prevent heat loss." | Energy.gov Energy Saver Guide
water heating | "Drain a quart of water from your water tank every 3 months to remove sediment that impedes heat transfer..." | Energy.gov Energy Saver Guide
water heating | "Move the faucet lever to the cold position when using small amounts of water..." | Energy.gov Energy Saver Guide
laundry | "Using warm water instead of hot can cut a load's energy use in half, and using cold water will save even more." | Energy.gov Energy Saver Guide
laundry | "Use the high-speed or extended spin cycle to remove as much moisture as possible before drying." | Energy.gov Energy Saver Guide
laundry | "Clean the lint screen after every load and periodically use the long nozzle tip on your vacuum cleaner to clean the lint screen slot..." | Energy.gov Energy Saver Guide
laundry | "Dry towels and heavier cottons separate from lighter-weight clothes." | Energy.gov Energy Saver Guide
laundry | "When drying laundry, consider air-drying on clothes lines or drying racks." | Energy.gov Energy Saver Guide
cooking | "Use small appliances such as air fryers, multicookers, slow cookers, toaster ovens, electric pressure cookers, microwave ovens, or convection ovens for small meals rather than your large stove or oven." | Energy.gov Energy Saver Guide
cooking | "Match the size of the pan to the heating element." | Energy.gov Energy Saver Guide
cooking | "Cover pots and pans when you cook. The food cooks faster and you'll use less energy." | Energy.gov Energy Saver Guide
cooking | "Check that natural gas appliance flames are blue; yellow flames indicate the gas is burning inefficiently..." | Energy.gov Energy Saver Guide
cooking | "Keep range-top burners and reflectors clean; they will reflect the heat better, and you will save energy." | Energy.gov Energy Saver Guide